Abstract

Title: Effects of storage and preservation on bone microindentation properties.

Authors: Temiloluwa A Adesioye and Peter S Grabowski

Author Affiliation: Academic Unit of Human Nutrition, University of Sheffield, UK

Background:  Bone fragility, resulting from nutritional deficiencies, genetic predispositions, and disease including osteoporosis and arthritis, significantly increases the risk of sustaining a fracture. There are currently no reliable methods to determine bone quality, where estimates of bone strength rely at best on unproven assumptions in the relationship between bone mineral density (BMD) and bone mechanical properties. We are undertaking studies with the BioDent Hfc (Active Life Scientific), an experimental reference point microindentation device that has recently been shown to discriminate between cases of bone fracture and controls.

Aims: In this study, we assessed whether sample storage protocols would affect bone microindentation properties.

Methods: Freshly purchased chicken drumsticks were cleaned of flesh and placed in either 70% ethanol, 10% buffered formalin or wrapped with gauze soaked in HBSS and stored at -20˚C for 1, 7, 14, 30, 42 and 60 days, or tested on the Biodent Hfc device immediately (baseline; n=3 per storage condition and time point). Each bone was analyzed five times using a protocol of 6N test force at a frequency of 2Hz over 5 cycles. Microindentation measures included total indentation distance (TID) and indentation distance increment between 1st and last cycle (IDI), which relate to fracture propagation and toughness, and average loading and unloading slopes (Avg US and Avg LS), which relate to elastic properties.

Results: There were no significant differences in any of the microindentation measures following storage compared with baseline measures.

Conclusions: Our results suggest that storage of specimens under a variety of conditions for up to 60 days does not significantly alter the microindentation properties of bones. However, our interpretation is cautious as we observed large inter-individual variations in some properties that could mask biologically significant effects of storage.